## Fire Safety Risk
Identified Fire Hazards and Primary Control Measures
Response
Electrical Sources of Ignition
Measures taken to prevent fires of electrical origin.
Fixed installation periodically inspected and tested? (e.g. every 5 years)
Portable appliance testing carried out on a risk assessed basis?
Suitable policy in place regarding the use of personal electrical appliances?
Suitable limitation and management of trailing leads and adaptors?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Smoking
Response
Measures taken to prevent fires as a result of smoking
Smoking prohibited in the building?
Smoking permitted in appropriate areas?
Suitable arrangements for those who wish to smoke?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Arson/Deliberate Ignition
Response
Basic security against arson by outsiders or other persons appears reasonable.
Is there the potential for fire load/combustibles in close proximity to the premises available for ignition by outsiders?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Portable Heaters
Response
Portable heaters are used within the premises.
Is the use of the more hazardous type (i.e. radiant bar fires or LPG appliances) avoided?
Are suitable measures taken to minimise the hazard of ignition of combustible materials due to these heaters?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Fixed Heating Installations
Response
Fixed heating installations such as boilers are used within the premises.
Are fixed heating installations subject to regular maintenance?
Are suitable measures taken to minimise the hazard of ignition of combustible materials due to these heaters?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Cooking
Response
Measures taken to prevent fires as a result of cooking
Filters cleaned or changed and ductwork cleaned regularly?
Suitable extinguishing appliances available? (e.g. Fire blanket, Wet Chemical etc)
Suitable Shut Down Procedures in place?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Lightning
Response
The building has a lightning protection system
Is the lightning protection system subject to a suitable maintenance regime?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Dangerous Substances
Response
Dangerous substances are, or could be used or stored, within the premises?
A risk assessment has been carried out as required by the Dangerous Substances and Explosive Atmospheres Regulations 2015 (DSEAR)/Explosive Atmospheres (ATEX) Directive?
Stored in suitable areas and containers away from potential sources of ignition, to include issues of chemical reactivity and compatibility.
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Housekeeping
Response
Standards of housekeeping.
Combustible materials appear to be separated from ignition sources?
Appropriate storage of hazardous materials?
Escape routes kept clear of any combustibles? (Storage /furniture)
Appropriate measures for the safe storage and disposal of waste?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
If there are in-house maintenance personnel, are suitable precautions taken during works carried out by them, including use of hot work permits, where appropriate?
Is there satisfactory control over works including use of hot work permits, where appropriate, carried out in the building by external contractors?
Fire safety conditions have been imposed on both external contractors and in-house maintenance staff?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Other Significant Fire Hazards that Warrant Consideration
Response
Are there any other fire hazards that warrant consideration within the premises? (This to include any fire hazards from any process; heat producing, spark or friction generating, chemical or other process which has the capacity to ignite, create excessive or rapid heat or generate oxidising or flammable gas)
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Evacuation Strategy
Typical evacuation strategies within the premises are likely to involve one or more of the following arrangements. State which strategy (ies) have been adopted.
Response
Single Stage Evacuation It is reasonably expected that all relevant persons in the premises are able to (and will) evacuate immediately to a place of total safety.
Progressive Horizontal Evacuation Relevant persons are dependant on staff to assist with their escape. Provisions have been made to move such persons from an area affected by fire, through a fire resisting barrier to an adjoining fire protected area on the same level, where they can wait in a place of safety whilst the fire is dealt with, or await further evacuation down a protected route to total safety. NOTE - Progressive Horizontal Evacuation is subject to the following Protected areas should be designed to provide: • Sufficient capacity to accommodate the number of occupants who will need to use them. For this purpose, a protected area should be sufficient capacity to accommodate its normal occupants and the occupants of the largest adjoining protected area. • Progressive movement away from a fire via sequential adjoining protected areas. • Means for escape via stairway(s) should this become necessary. The number and size of the protected areas depends on a number of factors: • the time it will take to evacuate people from the area of a fire to an adjacent protected area; • the number of people to be evacuated; • the level of any mobility impairment; • the number of staff to assist in evacuation; • the fire protection arrangements; • layout of the premises; and • location and number of staircases;
Delayed Evacuation Relevant persons are dependant on staff to assist with their escape however it is not desirable or practical to evacuate persons (e.g. due to medical conditions or treatments). Such persons may remain within their rooms whilst the fire is dealt with and the danger has passed. NOTE - Delayed Evacuation is subject to the following Bedrooms to be enclosed in an enhanced level of fire-resisting construction (protected bedrooms). A protected bedroom should be of 60-minute fire-resisting construction and the door should be fire-resisting and fitted with a self-closing device. In addition, the escape route from the protected bedroom(s) to the adjoining protected areas, refuge or final exit (including any stairway) will also require an increased level of fire protection to allow access for staff to assist with subsequent evacuation from the protected bedroom(s). If necessary, the door may be fitted with electromechanical hold-open or free swing devices that operate immediately the fire alarm actuates. If provision of such fire resistance is not possible, you may be able to show through your risk assessment that alternative measures to limit the growth and spread of the fire are appropriate, such as an automatic fire suppression system supported by robust staff response procedures. Any resident who is initially left in a fire protected bedroom should be accompanied by a carer. As such, the total number of residents awaiting evacuation in protected bedrooms should be less than the number of staff on duty. It is imperative that if some less able residents are left in protected bedrooms to await evacuation, then other staff know which rooms have been evacuated and those which still contain residents and where necessary are able to notify the fire and rescue service when they arrive. Arrangements for delayed evacuation should only be based on a pre-planned basis
Written copies of Evacuation Procedures are located as follows:
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Provision of Elements of Fire Safety as Secondary Control Measures
Means of Escape
Response
It is considered that the premises are provided with reasonable means of escape in case of fire. Identify the means of evacuation and attach a plan. (This can be a hand drawn plan).
Adequate design of escape routes?
Reasonable distances of travel when:Where there is escape in a single direction? State the distance of maximum travel.
Reasonable distances of travel when:Where there are alternative means of escape? State the distance of maximum travel.
Suitable protection of escape routes? (Fire resisting construction)
Adequate provision of exits? State the capacity of each exit
Exits easily and immediately open-able where necessary without the use of a key?
Escape routes unobstructed?
It is considered that the premises are provided with reasonable arrangements for means of escape for disabled people? Describe the arrangements below.
Does the evacuation plan fit with the floor space factors?
Identify dead end corridors. Are the appropriately covered?
Identify inner rooms. Are the appropriately covered?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Measures to Limit Fire Spread and Development
Response
Compartmentation of a reasonable standard. (Fire resisting) Identify compartmentation.
Reasonable limitation of linings that may promote fire spread. (Walls and ceilings)
As far as can be reasonable ascertained, fire dampers are provided in ducts or vents as necessary to protect critical means of escape routes against passage of fire, smoke and combustion products in the early stages of a fire?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Emergency Escape Lighting
Response
It is considered that there is a reasonable standard of emergency escape lighting to ensure safe use of escape routes?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Fire Safety Signs and Notices
Response
It is considered that there is a reasonable standard of fire safety signs and notices? This to include fire exit, fire resisting door and hazard signage. The signage should comply to the Health & Safety Regulations
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Means of Giving Warning in Case of Fire
Response
Remote transmission of alarm signals to a monitoring station or other?
Extent of automatic fire detection generally appropriate for the occupancy and fire risk?
Part of Premises only
Throughout Premises
Reasonable manually operated fire warning system provided?
If yes give details: (e.g. Break glass call points, fire bell, air horn, klaxon etc)
Automatic fire detection provided? If yes, to what Standard? (e.g. BS 5839 Part 1Grade L1/L2 etc)
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Manual Fire Extinguishing Appliances
Response
Reasonable provision of portable fire extinguishers?
Are all fire extinguishing appliances readily accessible and unobstructed? (i.e. mounted on walls or on appropriate bases)
Is suitable wall signage provided relevant to extinguisher?
Are hose reels provided?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Relevant Automatic Fire Extinguishing Systems
Response
Type of fixed system and location: (Inergen gas suppression systems, sprinklers/misting systems etc)
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Other Relevant Fixed Systems and Equipment
Response
Type of fixed system and location: (i.e. Dry/wet risers, fireman’s lift control, smoke ventilation, smoke curtains etc
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Firefighter Switch – High Voltage Luminous Tube Signs etc
Response
Suitable provision of fire fighters switch(s) for high voltage luminous tube signs, etc (to include location)?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Management of Fire Safety
Procedures and Arrangements
Response
Are competent person(s) appointed to assist in undertaking the preventative and protective measures
Is there a suitable record of the fire safety arrangements?
Appropriate fire procedures in place?
Are procedures in the event of a fire appropriate and properly documented?
Are there suitable arrangements for summoning the Fire and Rescue Service?
Are there suitable arrangements to meet the F&RS on arrival and provide relevant information, including that relating to hazards to fire fighters?
Is there a plan of the building available indicating basic layout and any areas of significant risk?
Are there suitable arrangements for ensuring that the premises have been evacuated?
Is there a suitable fire assembly point(s)?
Are there adequate procedures for evacuation of any disabled people who are likely to be present?
Persons nominated and trained to assist with evacuation, Including evacuation of disabled people?
Appropriate liaison (if necessary) with Fire and Rescue Service Rescue Service crews visiting for familiarisation visits?
Routine in-house inspections of fire precautions (e.g. in the course of health and safety inspections)?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Training and Drills
Response
Are all staff given adequate fire safety instruction and training on induction?
Routine checks of final exit doors and/or security fastenings?
Are all staff given adequate periodic ‘refresher’ training at suitable intervals? If yes, at what intervals?
Annual maintenance of fire extinguishing appliances?
Monthly and annual testing routines for emergency escape lighting?
Periodic inspection of external escape staircases and gangways?
Six monthly inspection and annual testing of rising mains?
Weekly and monthly testing, six monthly inspection and annual testing of fire fighting lifts?
Weekly testing and periodic inspection of sprinkler installations? (e.g. on fire risks and fire safety measures)?
Annual inspection and testing of lightning protection system?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Recording
Response
Fire drills?
Fire training?
Fire alarm tests?
Emergency escape lighting tests?
Maintenance and testing of other fire precaution systems?
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required
Testing and Maintenance
Response
Are all staff given adequate fire safety instruction and training on induction?
Are all staff given adequate periodic ‘refresher’ training at suitable intervals? If yes, at what intervals?
Are all staff with special responsibilities (e.g. fire wardens and staff who assist with disabled people) given additional training?
Does all training for staff provide information, instruction or training on the all the following (If no, indicate which one/s in the deficiencies boxes below):
Fire risks in the premises? The general fire precautions in the building? Action in the event of a fire? Action on hearing the fire alarm signal? Method of operation of manual call points? Location and use of fire extinguishers? Means for summoning the fire and rescue service? Identity of persons nominated to assist with evacuation? Identity of persons nominated to use fire extinguishing appliances?
Are fire drills carried out at appropriate intervals and a record of such drills maintained?
Is there sufficient and adequate channels of communication of fire safety information between employer and employee (e.g. Health & Safety meetings, notice boards etc)
When the employees of another employer work in the premises, are they provided with adequate instructions and given appropriate information (e.g. on fire risks and fire safety measures)?
Is there adequate co-operation and co-ordination between different Responsible Persons (Multi-Occupancy) to ensure compliance with the Fire Safety
Identified Hazard | Deficiencies | Existing Control Measures | Any recommended improvements |  | Remedial Action Required