## Work in Confined Space
WORK IN CONFINED SPACE
Response
Are the Operartors Competent to Work in Confined Spaces
Is the atmosphere in the Confined Space Hazardous
Is a Rescue Plan Required
Is there a risk of Water, Fluid or Gas Ingress
Is any Lone Working to be Carried out
Atmospheric Monitoring
Respiratory Protective Equipment
Other Measures:

## Work at Height
WORK AT HEIGHT
Response
Are the Operartors Competent to Work at Height
Has any Equipment (MEWP's, Ladders ect) been Inspected
Is a Rescue Plan Required
Edge Protection used
Operator Restraint used
Operator Fall Arrest used
Operator Safety Net/Air Bag used
Is Adequate First Aid Available
Other Measures:

## Work on Live Electrical Systems
WORK ON LIVE ELECTRICAL SYSTEMS
Response
Are the Operartors Competent to Work on Live Electrical Systems
Is any Lone Working to be Carried out
Has a Point of Isolation been Identified and Communicated
Are Non Conductive Tools being used where appropriate
Is Temporary Insulation of Equipment or Live Parts Needed
Is Adequate First Aid Available
Other Measures:

## Hot Work
HOT WORK PERMIT TO WORK
Response
Area to be clear of Combustibles
Extinguisher(s) Required
Fire Blanket Required
Fire Watch Required
Fire Detection to be Isolated
Access to the Work Area to be Restricted
Type of Fire Extinguisher required
Other Measures

## Work on Pressurized System
WORK ON PRESSURISED SYSTEMS
Response
Are the Operartors Competent to Work on Pressurised Systems
Is any Lone Working to be Carried out
Can the System be Isolated and the Pressure Released
Is Appropriate PPE Available and to be Used
Does Access Need to be Restricted to the Work Area
Is Adequate First Aid Available
Other Measures

## Complex Lifting Operation
COMPLEX LIFTING OPERATIONS
Response
Are the Operartors Competent to Carry out Lifting Operations
Has any Equipment been Recently Inspected
Are Banksmen Required
Does Access to the Work Area need to be Restricted
Has the Lift Been Planned Adequately
Have Environmental Hazards been Considered (eg wind speed)
Is any PPE Required for the Operation
Other Measures:

## Permit to Work closure
Permit Receiver Initaites the closure process when the work is done
Permit number |  | (Search)
| Work Complete to a Satisfactory Standard? |  |  |  | yes | no
| Work Area Left Clean and Tidy? |  |  |  | yes | no
| Work Area and and Equipment Left Safe? |  |  |  | yes | no
| Any Accidents or Near Misses During the Work? |  |  |  | yes | no
| Filled By |  | Approved By | Approved on
All permits will follow this process. Select the Permit No,start closure by filling in the Questionnaire then Submitting for Either Approve or rejection

## Closure
PERMIT TO WORK CLOSURE
Response
Work Complete to a Satisfactory Standard?
Work Area Left Clean and Tidy?
Work Area and and Equipment Left Safe?
Any Accidents or Near Misses During the Work?